## Slide 2
CoMPAS in next generation substation automation
Rob Tjalma & Sander Jansen
Alliander

## Slide 3
Rob Tjalma
Software Developer
Experienced in multiple technologies, specialized in Java
Introduction
  Ing Sander Jansen
  Product Owner virtual substaions
  Background in
  Data architecture
  Electrical engineering

## Slide 4: The world around energy has changed.
Notes: Renewable energy
Flexibility
Due to the Energy Transition the use of power transmission and distribution grids is changing. The control architecture of power grids needs to be swiftly adapted to take account of infeed at lower grid levels, higher dynamics in flow patterns and more distributed controls (both internal controls and grid flexibility services from third parties).
Talking Points:
Disruption is what happens to people who don’t forecast what’s about to happen.
Transformation is better.
- The world around energy has changed
- It’s simultaneously opening opportunities like we’ve never seen before for those that change with it, as it rapidly erodes the relevance of those that don’t embrace the change
- We’ve seen it in other industries and no one in the energy industry is immune to the change that is happening in our industry.

## Slide 5
Substation of the future requires:
Dynamic protection settings
Adaptive automation functions
Great data management
  administration
  deployment
Substation Requirements

## Slide 6
Control software Operating System
Control Plane CPU
Switch Silicon
Data Plane Silicon
Features/Service Management & Operations
Today’s Black Box
Proprietary IED's
Hardware
Software
Orchestration
Management
Virtual Functions
Automation
Software-Defined
Disaggregation
Market Disruption
Driving Innovation
Substation
current state and future
Open source based stack
Services/apps
Orchestration
Network
Hardware
Operating system

## Slide 7
LF energy functional architecture
Source: LF Energy Landscape

## Slide 8
Merging unit / IO / Digital instrument transformer
IEC 61869-13
IEC 61869-9
Substation functions e.g protection
Gateway
Central systems
61850 processbus
61850 stationbus
LF energy
Substation architecture
61850 SCL
Notes: Seapath komt na ons

## Slide 9
The aim of the CoMPAS project is to develop open source software components related to IEC 61850 model implementation (profile management) and configuration of a power industry Protection Automation and Control System (PACS).
CoMPAS goal
Notes: Faster development and collaboration

## Slide 10
Requirements specification
Grid planning: CIM to 61850
Operational changes
Asset management planning
Register for substation configurations
Interface for other systems e.g.
SCADA, CMDB, Grid control etc
CoMPAS use-cases
Facilitate top-down enigeering
Notes: Why is this important?

## Slide 11
CoMPAS roadmap
Functional block / workstream | Priority rank
Reference architecture | High
System Configuration | High
CIM-IEC61850 mapping | Medium
Integration with OpenSCD | Medium
System specification | Low
Profiling | Low
Testing | Low
Functions are mostly based on IEC61850 Substation configuration tool recommendations

## Slide 12
CoMPAS
technical architecture

## Slide 13
No release yet
Architecture is ready
  https://com-pas.github.io/compas-architecture/
Build/test/documentation in place
  https://wiki.lfenergy.org/display/HOME/CoMPAS
Basic CIM to 61850 function
Work on SCT services
(SCD CRUD)
CoMPAS current state @ time of recording
Active contributors:
RTE
GE
Alliander
Collaboration planned with:
OpenSCD

## Slide 14
LF energy slack: #compas
github.com/com-pas
lists.lfenergy.org CoMPAS
Community calls / CoMPAS Architecture · CoMPAS Architecture (com-pas.github.io)
Join the movement!

## Slide 15
Thank you!
Rob Tjalma & Sander Jansen